Highlights

Hybrid Physics–Diagnostic Estimation of Liquid Loading for Wet-Gas Flowmeter Correction: A Model-Based Uncertainty Framework

Liquid loading is estimated as a latent variable; the correlation is unchanged

Fusion beats the diagnostic estimator alone only when carryover is infrequent

The consistency index has 94% precision but only 3% sensitivity for carryover

Omitting the estimator covariance silently disables the acceptance test

Modeled uncertainties only; an independent correlation widens the band by 1 point